# Architecture of Nuclotron Control System Software

V.A. Andreev, E.A. Frolov, I.I. Kulikov, B.V. Vasilishin, V.I. Volkov
VBLHE, Joint Institute for Nuclear Research, Dubna, Russia

### Abstract

This report is dedicated to a software part of the Nuclotron Control System (NCS) which provides the efficient support for the Nuclotron operation during all runs.

The superconducting synchrotron Nuclotron, involved into operation in March 1993, is intended to accelerate the nuclei and multicharged ions up to an energy of 6 Gev/u for the charge-to-mass ratio q/A=0.5 [1]. The accelerator operation highly depends on the efficient functioning of the NCS [2]. The NCS software supports such functions as data acquisition, processing, storage and browsing of the on-line and archive data. At present time it is presented by a wide and various set of program tools and applications [3].

### NCS Software

### Introduction

The NCS consists of two physical levels: an Operator Control Level and a Front End Level. The Front End Level comprises both industrial personal computers (IPC) from ADVANTECH with peripheral specialized data acquisition modules and intelligent CAMAC crate-controllers with embedded micro-PCs and outer modules connected directly to the IPC bus.

The second level consists of servers and workstations which compose the Nuclotron Local Area Network (LAN), the subnet of the LHE General Ethernet Network. Novell NetWare 5.1 is the Nuclotron subnet network operating system. The NCS supplies all appropriate man-machine tools and control programs for operators to run the accelerator.

### NCS General Layout

As a part of the NCS, the software development was begun simultaneously with the accelerator construction. And it is in a progress at present time. The NCS is a distributed system. Its subsystems are 500 m spaced one from another. Thus geographically it is separated on four parts, while the LAN comprises four independent segments (Fig.1).

At present time NCS provides control functions and data browsing for such subsystems as thermometry and cryogenics, radiation safety, beam injection and beam diagnostics on the first turns, circulating and extracted beam diagnostics, beam lines in the experimental hall, slow extraction system, main power supplies, magnetic field correction, radio frequency and alarm system.

Interface usability and program functionality depend on both the program development instruments (programming language, environment, tools, available packets and libraries) and PC’s high performance capabilities which are used for program developing, testing and debugging processes. Also we should take into account the network structure and throughput which determine remote program interaction.

Fig. 1. NCS general layout

### Previous NCS Software Structure

NCS Software evolution went through the following phases. At the beginning such languages as C and Assembler were used for programming and programs were running under the DOS. Computers in a segment were connected with a thin coaxial cable, while the segments between each other were connected through the thick coaxial cable with 10 Mb/sec throughput capacities. All the data and executive programs were placed on the file-server under the Novell NetWare 3.11 network operating system control (Fig.2).

Fig. 2. Previous NCS Software structure

IPX/SPX and NetBIOS protocols were used for data transmission while the control executive modules and programs for data browsing with the cyclic and archive data files were placed on the server. In that way a single file-server played the role of a centralized data storage and it was the place where the most of programs have been launched from. At the same time the complete information about the status of the whole machine and its parameters was available in the dynamic runtime database with updating in every accelerator cycle. An access to the database information was gained by the consoles independently in order to display relevant parameters about the elements required by the operators. Accordingly, the information could be both observed on display screens, and processed and written to hard disks together with experimental data for the future off-line physical analysis.

### Current NSC Software Structure

Further, due to the server and PC re-equipment in 2002, network functioning was placed under the Novell NetWare 5.1 network operating system control. The main Control Room was the first where a twisted-pair cable has been used for connection between the computers in a segment. Using object-oriented programming, the first applications with modern GUI were created and successfully tested. The web-server (Apache) was installed on an updated server platform and the enhancements of the network structure allowed an extending access to the renewed Nuclotron web-site.

A number of java-applets at the site was increased up to four. Thus one could have a remote access to the whole data available for operators in the Control Room through the web-interface and browse information from such subsystems as thermometry, magnetic field cycle, slow extraction system and beam intensity.

In 2003 the development of the database application (based on the Firebird DBMS) for the storing of the accelerator operation modes parameters was begun. In the future the mode statistics gathered during the accelerator runs will allow operators to find the nearest mode to the required from the saved and load the most of subsystems by necessary parameters. During the last runs this application was successfully tested and improved, while the initial statistics was gathering.

As a result, now we have the following NCS Software layout presented in Fig.3. As one can see, during each cycle, the main program applications launched under the DOS on the front-end computers manage data acquisition, pack the cyclic files and load them onto the file-server. At the same time some data are coping onto the web-server to be browsed through the java applet interface. Programs for data browsing launched at the main and local control rooms periodically check cyclic files for updating and open the updated files and refresh the information on the screens.

Besides, at a present moment two subsystems of the Nuclotron Slow Extraction System – resonance lenses control and beam current feedback – are working under the Windows® platform using the remote connections via the TCP/IP protocol stack. Hence the data exchange between the main application and the program for browsing goes without intermediate storing the data on the server disks. The consequent enhancement of the network and computing equipment as well as using of modern software development kits supposes this data exchange method will be applied to the rest of subsystems. In that way the server     (front-end program) will register clients (control and observing programs) which are interested in having the data (parameters) from (of) any subsystem. With information updated during the last acceleration cycle, the server-program transmits the renewed data block only to the registered client-programs by-passing the file-server. It allows the file-server to avoid excessive requests and disk read/write operations, and to keep archive files only.

Fig. 3. Current NCS Software structure

A summary traffic produced by data exchange is about 200 KB/s. It is a quite normal working load for a network with a channel capacity up to 100 Mb/s. A number of concurrently executing applications during the accelerator run is over 35.

### Conclusion

It is supposed to increase the integration between the database as a centralized data storage and the set of programs which interact via TCP/IP socket connections. It will provide more flexible and clear management functions and allow the adequate information support of physical experiments during the accelerator runs.

## References

[1]		A.D. Kovalenko, “Nuclotron: status & future”, EPAC’2000, Vienna, June 2000”.

[2]		V. Andreev et al., “Nuclotron Control System”, PAC’97, Vancouver, 1997.

[3]		V. Andrev et. al., “Nuclotron Control System. Prospects of the program compex development”, RUPAC XIX, Dubna, 2004.

# Text boxes

Nuclotron Control Room

Building 2

RF Equipment Hall

RF Electronics Hall

Building 1

Refrigerators

LU-20 Control Room

Synchrophasotron Control Room

Data Concentrator

Switch

Building 1A

Building 205

Power Engineering Control Room

Experimental Hall

Beam Lines

450 m

300 m

Fiber-optic

Ethernet Cable

Switch

Switch

Switch

350 m

Data

Control

PC

DOS

File-server Novell

NetWare 3.11

LAN

IPX/SPX, NetBIOS

Ethernet, coaxial

Subsystems

CAMAC

CC-PC

IPC

DOS

PC

DOS

.

.

.

Data

Control

Data

Data

Control

LAN

TCP/IP, IPX/SPX, NetBIOS

Ethernet, fiber-optic & twisted-pair cable

Subsystems

CAMAC

CC-PC

IPC

Data

PC

PC

.

.

.

Control

PC

DBMS

DB

Remote PC

Web-browser

HTML, JAVA-APPLETS

Data

File-server

Novell

NetWare 5.1

Web-server

Apache 3.12

TCP/IP